## Type A
Type A Headwall: Reinforcing Schedule Calculations | [5 empty] | * If Override Option is Not Used, Leave Cell Blank | TYPE A HEADWALL REINFORCING SCHEDULE
Reference shall be made to the "Concrete Headwalls for Precast Box Culverts" Standard Drawing for headwall dimensions and reinforcing data. | [6 empty] | BAR MARK | NUMBER | LENGTH |  | WEIGHT (LBS.) | TYPE | BAR TYPE DIMENSIONS | [7 empty] | INC.
Precast Box Culvert: |  |  | Footing & Cutoff Wall: | [9 empty] | A |  | B |  | C |  | D
Span = | 8 |  | Wf = | 8 |  |  | WINGWALLS
Rise = | 7 |  | hf = | 2 |  |  |  | 2 | 5 | 10
| Default | Override * | hcw = | 2 |  |  | X501 | SERIES | TO |  | 220 | STR. | [8 empty] | 0 | 4.5
tbox,wall = | 8 | [6 empty] | 13 | 10 | 4
tbox,top = | 8 |  | Bar Size: |  |  |  | X502 | 4 | 10 | 4 | 44 | STR.
tbox,bot = | 8 |  | V = | 5 |  |  | Y601 | 54 | 6 | 5 | 520.443 | 1 | 1 | 0 | 5 | 8
|  |  | W = | 5
Wingwalls: |  |  | X = | 5 |  |  |  | 2 | 5 | 10
H = | 10.5 |  | Y = | 6 |  |  | WW501 | SERIES | TO |  | 220 | STR. | [8 empty] | 0 | 4.5
h1 = | 6 |  | Z = | 5 |  |  |  | 13 | 10 | 4
h2 = | 6 | (h2=h1) |  |  |  |  | WW502 | 16 | 17 | 8 | 295 | STR.
L1 = | 18 |  | Bar Spacing: |  |  |  |  | 4 | 5 | 11
L2 = | 18 | (L2=L1) | v = | 18 |  |  | WW503 | SERIES | TO |  | 148 | STR. | [8 empty] | 5 | 10.625
a = | 3.6667 |  | w = | 18 |  |  |  | 3 | 17 | 8
b = | 1.26 |  | x = | 18 |  |  | WW504 | 14 | 4 | 0 | 59 | 2 | 0 | 10.12 | 0 | 3.5 | 2 | 1.25 | 2 | 11.5
c = | 3.9167 |  | y = | 9 |  |  | WW505 | 4 | 20 | 7 | 86 | 3 | 2 | 5 | 4 | 4 | 17 | 8
|  |  | z = | 18 | (z=w) |  | WW506 | 2 | 1 | 7 | 4 | 4 | 0 | 10.12 | 0 | 3.5
FOOTING & CUTOFF WALL
[7 empty] | V501 | 30 | 7 | 8 | 240 | STR.
[7 empty] | W501 | 30 | 7 | 8 | 240 | STR.
[7 empty] | Z501 | 34 | 8 | 2 | 290 | 5 | 3 | 7 | 1 | 2
[7 empty] | F501 | 12 | 6 | 11 | 87 | STR.
[7 empty] | F502 | 16 | 5 | 5 | 91 | STR.
[7 empty] | F503 | 7 | 5 | 11 | 44 | 1 | 3 | 8 | 2 | 4
[7 empty] | F504 | 2 | 9 | 0 | 19 | STR.
[8 empty] | 2 | 12 | 6 | [6 empty] | 6 | 7.25
[7 empty] | F601 | SERIES | TO |  | 330 | 6 | 2 | 1 | 2 | 1 | TO |  |  |  | 1 | 0.75
[8 empty] | 7 | 18 | 10 | [6 empty] | 12 | 11.5
[8 empty] | 4 | 16 | 4
[7 empty] | F602 | SERIES | TO |  | 754 | STR. | [8 empty] | 0 | 6.375
[8 empty] | 7 | 19 | 6
[8 empty] | 1 | 12 | 6 | [6 empty] | 6 | 7.25
[7 empty] | F603 | SERIES | TO |  | 39 | 6 | 2 | 1 | 2 | 1 | TO |  |  |  | 0 | 11.75
[8 empty] | 2 | 13 | 5 | [6 empty] | 7 | 7
[8 empty] | 2 | 16 | 4
[7 empty] | F604 | SERIES | TO |  | 100 | STR. | [8 empty] | 0 | 6
[8 empty] | 2 | 16 | 10
FORESLOPE WALL
[7 empty] | FS501 | 6 | 9 | 0 | 57 | STR.
[7 empty] | FS502 | 10 | 4 | 5 | 47 | 5 | 1 | 10 | 1 | 0
[7 empty] | FS503 | 10 | 5 | 1 | 54 | 7 | 1 | 10 | 1 | 0 | 2 | 5
[9 empty] | TOTAL |  | 3988.443

## Type B
Type B Headwall: Reinforcing Schedule Calculations | [5 empty] | * If Override Option is Not Used, Leave Cell Blank | TYPE B HEADWALL REINFORCING SCHEDULE
Reference shall be made to the "Concrete Headwalls for Precast Box Culverts" Standard Drawing for headwall dimensions and reinforcing data. | [6 empty] | BAR MARK | NUMBER | LENGTH |  | WEIGHT (LBS.) | TYPE | BAR TYPE DIMENSIONS | [7 empty] | INC.
Precast Box Culvert: |  |  | Footing & Cutoff Wall: | [9 empty] | A |  | B |  | C |  | D
Span = | 10 |  | Wf = | 4.75 |  |  | WINGWALLS
Rise = | 4 |  | hf = | 1.5 |  |  |  | 1 | 3 | 10
| Default | Override * | hcw = | 2.5 |  |  | X501 | SERIES | TO |  | 43 | STR. | [8 empty] | 0 | 4.375
tbox,wall = | 10 | [6 empty] | 8 | 6 | 4
tbox,top = | 10 |  | Bar Size: |  |  |  | X502 | 2 | 6 | 4 | 14 | STR.
tbox,bot = | 10 |  | V = | 5 |  |  |  | 1 | 3 | 4
|  |  | W = | 5 |  |  | X503 | SERIES | TO |  | 21 | STR. | [8 empty] | 1 | 0
Wingwalls: |  |  | X = | 5 |  |  |  | 4 | 6 | 4
H = | 6.5 |  | Y = | 6 |  |  | Y601 | 14 | 4 | 10 | 101.6353 | 1 | 1 | 0 | 4 | 0
h1 = | 4 |  | Z = | 5
h2 = | 3.5 | [6 empty] | 1 | 3 | 10
L1 = | 10 |  | Bar Spacing: |  |  |  | WW501 | SERIES | TO |  | 43 | STR. | [8 empty] | 0 | 4.375
L2 = | 4 |  | v = | 18 |  |  |  | 8 | 6 | 4
a = | 1.6667 |  | w = | 18 |  |  | WW502 | 6 | 9 | 8 | 61 | STR.
b = | 1 |  | x = | 18 |  |  |  | 2 | 4 | 10
c = | 2.75 |  | y = | 18 |  |  | WW503 | SERIES | TO |  | 31 | STR. | [8 empty] | 4 | 10
q = | 30 |  | z = | 18 | (z=w) |  |  | 2 | 9 | 8
[7 empty] | WW504 | 5 | 3 | 10 | 20 | 2 | 0 | 7 | 0 | 4 | 2 | 7.25 | 3 | 0
[7 empty] | WW505 | 2 | 12 | 4 | 26 | 3 | 2 | 5 | 2 | 4 | 9 | 8
[7 empty] | WW506 | 1 | 1 | 5 | 2 | 8 | 0 | 7 | 0 | 4
[8 empty] | 1 | 3 | 4
[7 empty] | WW507 | SERIES | TO |  | 21 | STR. | [8 empty] | 1 | 0
[8 empty] | 4 | 6 | 4
[7 empty] | WW508 | 6 | 3 | 8 | 23 | STR.
[8 empty] | 2 | 1 | 10
[7 empty] | WW509 | SERIES | TO |  | 12 | STR. | [8 empty] | 1 | 10
[8 empty] | 2 | 3 | 8
[7 empty] | WW510 | 2 | 7 | 1 | 15 | 3 | 2 | 5 | 2 | 10 | 3 | 8
FOOTING & CUTOFF WALL
[7 empty] | V501 | 18 | 4 | 5 | 83 | STR.
[7 empty] | W501 | 18 | 4 | 5 | 83 | STR.
[7 empty] | Z501 | 20 | 8 | 2 | 171 | 5 | 3 | 7 | 1 | 2
[7 empty] | F501 | 6 | 4 | 0 | 26 | STR.
[7 empty] | F502 | 8 | 3 | 2 | 27 | STR.
[7 empty] | F503 | 9 | 3 | 7 | 34 | 1 | 1 | 8 | 2 | 0
[7 empty] | F504 | 2 | 11 | 4 | 24 | STR.
[8 empty] | 2 | 17 | 7 |  |  | 14 | 7.75
[7 empty] | F601 | SERIES | TO |  | 227 | 3 | TO |  | 1 | 5.5 | 2 | 6.5 |  |  | 0 | 10.375
[8 empty] | 4 | 20 | 2 |  |  | 17 | 2.25
[8 empty] | 2 | 8 | 11
[7 empty] | F602 | SERIES | TO |  | 123 | STR. | [8 empty] | 0 | 10.375
[8 empty] | 4 | 11 | 6
[8 empty] | 1 | 17 | 7 |  |  | 14 | 7.75
[7 empty] | F603 | SERIES | TO |  | 54 | 3 | TO |  | 1 | 5.5 | 2 | 6.5 |  |  | 0 | 8
[8 empty] | 2 | 18 | 3 |  |  | 15 | 3.75
[8 empty] | 1 | 8 | 11
[7 empty] | F604 | SERIES | TO |  | 28 | STR. | [8 empty] | 0 | 8.125
[8 empty] | 2 | 9 | 7
FORESLOPE WALL
[7 empty] | FS501 | 4 | 11 | 4 | 48 | STR.
[7 empty] | FS502 | 13 | 1 | 5 | 20 | 5 | 0 | 6 | 0 | 8
[7 empty] | FS503 | 13 | 2 | 2 | 30 | 7 | 0 | 6 | 0 | 8 | 1 | 3
[9 empty] | TOTAL |  | 1411.6353

## Type C
Type C Headwall: Reinforcing Schedule Calculations | [5 empty] | * If Override Option is Not Used, Leave Cell Blank | TYPE C HEADWALL REINFORCING SCHEDULE
Reference shall be made to the "Concrete Headwalls for Precast Box Culverts" Standard Drawing for headwall dimensions and reinforcing data. | [6 empty] | BAR MARK | NUMBER | LENGTH |  | WEIGHT (LBS.) | TYPE | BAR TYPE DIMENSIONS
Precast Box Culvert: |  |  | Footing & Cutoff Wall: | [9 empty] | A |  | B |  | C
Span = | 28 |  | Wf = | 7 |  |  | WINGWALLS
Rise = | 7 |  | hf = | 1.5 |  |  | X501 | 24 | 9 | 4 | 234 | STR.
| Default | Override * | hcw = | 2.5 |  |  | Y601 | 44 | 6 | -1.0658e-14 | 397 | 1 | 1 | 0 | 5 | 2
tbox,wall = | 12
tbox,top = | 12 | 18 | Bar Size: |  |  |  | WW501 | 24 | 9 | 4 | 234 | STR.
tbox,bot = | 12 |  | V = | 5 |  |  | WW502 | 32 | 15 | 8 | 523 | STR.
|  |  | W = | 5
Wingwalls: |  |  | X = | 5 |  |  | FOOTING & CUTOFF WALL
H = | 9.5 |  | Y = | 6 |  |  | V501 | 43 | 6 | 8 | 299 | STR.
h1 = | 9.5 |  | Z = | 5 |  |  | W501 | 43 | 6 | 8 | 299 | STR.
h2 = | 9.5 | (h2=h1=H) |  |  |  |  | Z501 | 43 | 8 | 2 | 367 | 5 | 3 | 7 | 1 | 2
L1 = | 16 |  | Bar Spacing:
L2 = | 16 | (L2=L1) | v = | 18 |  |  | F501 | 21 | 5 | 9 | 126 | 1 | 3 | 8 | 2 | 2
a = | 3.6667 |  | w = | 18 |  |  | F502 | 2 | 29 | 9 | 63 | STR.
b = | 1.25 |  | x = | 18 |  |  | F601 | 24 | 32 | 1 | 1157 | STR.
c = | 3.9167 |  | y = | 9 |  |  | F602 | 4 | 32 | 1 | 193 | STR.
|  |  | z = | 18 | (z=w)
FORESLOPE WALL
[7 empty] | FS501 | 2 | 29 | 9 | 63 | STR.
[7 empty] | FS502 | 31 | 0 | 0 | 0 | 5 | 0 | -4 | 0 | 11
[7 empty] | FS503 | 31 | 1 | 5 | 46 | 7 | 0 | -4 | 0 | 11 | 1 | 1
[9 empty] | TOTAL |  | 4001

## Rebar Data
Bar Size | J | J-A | Mark | Weight | Lap Length
3 | 6 | 1 | Y301 | 0.376 | n/a
4 | 8 | 1 | Y401 | 0.668 | 23
5 | 10 | 1.5 | Y501 | 1.043 | 29
6 | 12 | 2 | Y601 | 1.502 | 34
7 | 14 | 2 | Y701 | 2.044 | 40
8 | 16 | 2.5 | Y801 | 2.67 | 45
9 | 19 | 3.5 | Y901 | 3.4 | 64
10 | 22 | 4 | Y1001 | 4.303 | 72
11 | 24 | 4 | Y1101 | 5.313 | 80
14 | 31 | 6 | Y1401 | 7.65 | n/a
18 | 41 | 8 | Y1801 | 13.6 | n/a